## Slide 1
QMS
Quality Management System
IVF Laboratory Training Program
ART Compass · Fertility Guidance Technologies
Regulatory Standards: CLIA · CAP · OSHA · HIPAA · FDA 21 CFR Part 1271
For internal laboratory staff use
Reproductive Clinical Labs

## Slide 2
OVERVIEW
Training Agenda
20 modules covering the complete QMS lifecycle
01
QMS Purpose & Scope
02
Regulatory Framework
03
Facility & Safety
04
Personnel Roles
05
SOPs: Structure & Lifecycle
06
Training & Competency
07
Instrumentation & Maintenance
08
Reagents & Supplies
09
Sample Integrity
10
Quality Control Principles
11
QC Failure Protocol
12
Proficiency Testing
13
Document Control
14
Incident & CAPA
15
Record Keeping & Reports
16
Troubleshooting Framework
17
Internal Audits
18
ART Compass Integration
19
Annual QMS Review
20
QMS Summary & Accountability

## Slide 3
MODULE 01
QMS Purpose & Scope
PURPOSE
Ensure highest quality patient care
Maintain regulatory compliance (CLIA, OSHA, HIPAA, FDA)
Drive continuous quality improvement across all operations
Provide written procedures within a comprehensive QI program
Monitor and evaluate effectiveness of lab tests, processes, and procedures
SCOPE
Preanalytical:
Test ordering, specimen collection
Analytical:
Testing, equipment validation, QC
Postanalytical:
Results reporting, specimen archiving
Document Control:
Policies, procedures, forms
Information Mgmt:
Patient data, results, PHI
Vendor Relations:
External suppliers and agreements

## Slide 4
MODULE 02
Regulatory Framework
Standards that govern IVF laboratory compliance
CLIA
Clinical Laboratory Improvement Amendments
Personnel, QC, PT, and proficiency requirements for all clinical labs
OSHA
Occupational Safety & Health Administration
Bloodborne pathogen plan, chemical hygiene, PPE requirements
HIPAA
Health Insurance Portability & Accountability Act
Patient data confidentiality and PHI safeguards
FDA
1271
21 CFR Part 1271 — Human Cells, Tissues, HCT/Ps
Tissue bank regulations; donor screening, infectious disease testing
CAP /
JCAHO
Accreditation Agencies
Periodic external inspections; accreditation standards and checklists
State
Regs
Fire, Building & State Lab Codes
Local requirements that may exceed federal minimums

## Slide 5
MODULE 03
Facility & Safety Requirements
Environment
Temperature, CO₂, humidity documented daily
Nonporous or coated testing surfaces
Incompatible activities physically separated
Access Control
Patients limited to waiting/draw areas
Testing areas restricted to authorized personnel
Children supervised at all times
PPE & Hygiene
Non-latex nitrile gloves for all specimen handling
Long-sleeved lab coat worn in testing area
Handwashing before leaving testing area
Prohibited Items
No food/drink/cosmetics in testing area
No cell phones or headphones in lab
No mouth pipetting; no press-on nails
Contamination Control
One patient sample manipulated at a time when possible
Fresh gloves per patient; decontaminate surfaces each shift
Long hair secured; no protruding rings under gloves
Waste & Hazards
Appropriate disposal containers for contaminated materials
SDS maintained for all reagents and chemicals
10% bleach decontamination for equipment relocation

## Slide 6
MODULE 04
Personnel Roles & Responsibilities
CLIA-defined hierarchy and delegation structure
Laboratory Director
Authorizes QMS and delegates responsibilities in writing
Reviews/approves all SOPs and major changes
Oversees regulatory compliance and annual QMS review
Clinical Consultant
Delegated all responsibilities under CLIA §493.1457
Provides clinical interpretation support
Technical Supervisor
Approves method validation and QC changes
Reviews PT results and remedial actions
Reviews credentials of potential hires
Signs off on competency for moderate complexity tests
General Supervisor
Monitors QC for shifts and trends
Approves training and retraining
Manages turnaround time deviations
Signs off on high-complexity test competency
Testing Personnel
Perform only tests for which trained and competent
Follow SOPs for specimen handling and reporting
Document all QC activities and corrective actions
Identify and report performance problems

## Slide 7
MODULE 05
Standard Operating Procedures
Structure, approval, and lifecycle management
1
Draft
Written by qualified personnel; submitted for review
2
Approve
Lab Director signs/dates before implementation
3
Train
Staff may train on effective date; may not implement until all signatures obtained
4
Review
Annual review by appropriate personnel
5
Revise
Significant changes require Lab Director approval; minor changes do not
6
Archive
Discontinued SOPs archived in perpetuity with discontinuation date and reason
KEY RULES
Each procedure must have a corresponding SOP
Electronic SOPs maintained in document control site (ART Compass)
Personnel must follow the official SOP exactly as written
If Lab Director changes, all SOPs reviewed and signed within 90 days
Superseded versions collected and destroyed (except historical file)
All discontinued SOPs retained in perpetuity
Employees read and sign revised SOPs pertaining to their duties

## Slide 8
MODULE 06
Training & Competency Assessment
Requirements before independent patient testing
6 mo
Initial competency evaluation
Annual
Ongoing competency re-assessment
∞
Records maintained in perpetuity
100%
Sign-off before independent work
6 Required Competency Assessment Elements (CLIA Minimum)
1
Verification of identification (match govt. ID; ensure documentation complete before testing)
2
Direct observation of routine patient test performance, including specimen handling and processing
3
Monitoring of recording and reporting of test results
4
Review of QC records, PT results, worksheets, and preventive maintenance records
5
Direct observation of instrument maintenance and function checks
6
Assessment of problem-solving skills

## Slide 9
MODULE 07
Laboratory Instrumentation & Maintenance
Calibration Requirements
Performed every 6 months minimum
Required on complete reagent lot change
Required after major PM or critical part replacement
Required when QC reflects unusual trends or OOR results
Specific PM Activities
Temperatures logged daily when lab is occupied
Microscopes serviced annually
Centrifuges cleaned weekly; calibrated annually
Ventilation hood face velocity measured annually
Equipment Records Must Include
Manufacturer name, type, serial number
Current location (satellite/off-site if applicable)
Calibration dates, results, next due date
Maintenance plan and completed PM history
Software identity and version
Relocation Protocol
Exterior decontaminated with 10% bleach before moving
Recalibrate upon arrival at new testing site
2-level QC + representative patient samples to verify function
EQUIPMENT USE RULE
No equipment may be used unless:
• In safe and reliable operating state
• Personnel have documented training and competency in its use
• Maintenance and function checks are within manufacturer limits
Maintenance logs retained in perpetuity

## Slide 10
MODULE 08
Reagents & Supply Management
Intake
Enter into inventory tracking system per Supply Intake SOP upon receipt
Preference for FDA-cleared/approved materials for human use
Labeling
Date of receipt (commercial) or preparation (lab-made)
Date opened; expiration date (assign 1-year if none provided)
Concentration/strength if in secondary container
OSHA hazard labels: health, fire, reactivity, specific hazards
Storage
Per manufacturer instructions; strictly observe shelf life
Expired reagents NEVER used for patient testing
Different lot number components not interchangeable unless specified by manufacturer
Lot Change
Lot-to-lot verification required before new lot placed in service
Specific requirements outlined in individual test SOPs
QC must be performed on all new shipments regardless of lot number
Water Quality
Appropriate type (tap vs. reagent-grade) per testing SOP
SDS maintained for all reagents and chemicals
Sample Integrity
Specimen collection, acceptability, processing, and rejection criteria established
Lab personnel responsible for ensuring integrity of all specimens

## Slide 11
MODULE 10
Quality Control Principles
QC REQUIREMENTS
Quantitative tests: 1 low + 1 high value control
Qualitative tests: 1 positive + 1 negative control
New lot verification: replicate testing ×5; must fall within mean ±2SD
Lab-determined target values: 20 results over ≥5 days with in-use control running
Emergency new lot: mean of 5 replicates; re-evaluate weekly until 20 days available
QC performed on all new reagent shipments before placing into service
WESTGARD RULES (Tri-level, N=3)
1 control measurement exceeds ±3SD → REJECT
2 controls exceed ±2SD on same day → REJECT
1 control exceeds ±2SD on two consecutive days → REJECT
QC Log Must Document
Test name & manufacturer
Lot # and expiration of kit and controls
Date performed; results obtained
Personnel initials
Monthly review signature

## Slide 12
MODULE 11
QC Failure Protocol
Ordered steps — do not skip ahead or reorder
⚠ DO NOT RELEASE PATIENT RESULTS UNTIL VALID QC IS OBTAINED
1
Repeat QC:
If acceptable → document both original and repeat values → proceed
2
Fresh aliquot:
Pour fresh QC material and re-run → if acceptable → document and proceed
3
New bottle:
Open new bottle of QC material → re-run → if acceptable → document and proceed
4
Notify Supervisor:
Notify Technical Supervisor and/or Lab Director — METHOD PROBLEM — begin troubleshooting
5
Recalibrate:
Recalibrate instrument → re-run QC → if acceptable → document new value
6
Fresh reagent:
Replace reagent → recalibrate → re-run QC → if acceptable → document
7
Manufacturer:
Review troubleshooting guide; contact manufacturer; do not record QC until repaired, recalibrated, and valid QC obtained

## Slide 13
MODULE 12
Proficiency Testing (PT)
External validation of laboratory performance
Selection
Technical Supervisor selects appropriate PT programs
Program selection documented and approved
Assignment
PT materials assigned on a rotating basis
All qualified personnel must have equal opportunity to perform PT testing
Testing Rule
PT samples tested in same manner as patient specimens
Personnel maintain records demonstrating this equivalence
Result Review
Technical Supervisor reviews all PT results
Non-graded results also evaluated
Remedial action approved for any deficiencies
Attestation
Technical Supervisor signs attestation sheet
Completed before submission to PT program
Non-Graded Results
Evaluated by Technical Supervisor
Corrective action documented if indicated
Used as learning opportunity

## Slide 14
MODULE 13
Document Control
Managing policies, procedures, forms, and records
Document Type | Creation | Review Cycle | Retention
SOPs | Lab Director approval required before use | Annual | Perpetuity (including discontinued)
QC Records | Entered in analyzer software, LIS, or log sheet | Monthly supervisor review | Perpetuity
Competency Records | Summary at designated assessment time | 6 months initial; annual thereafter | Perpetuity
Maintenance Logs | At instrument by testing personnel | Annual PM by manufacturer | Perpetuity
Incident Reports | At time of occurrence | Lab Director/Supervisor review | Perpetuity
PT Records | At time of testing | Technical Supervisor review | Perpetuity
All laboratory records must be maintained in perpetuity. Use of White-Out or correction fluid is prohibited. Errors corrected with single line through + initials + date.

## Slide 15
MODULE 14
Incident Reporting & CAPA
Corrective and Preventive Action framework
TRIGGERS FOR CORRECTIVE ACTION
QC results out of range
Patient, PT, or QC specimens tested with expired reagents
Patient testing performed with out-of-range or missing QC
Laboratory instrumentation did not perform as expected
Errors in laboratory reporting identified
Errors in specimen collection or handling identified
Errors detected in PT results
CAPA REPORT MUST IDENTIFY
What happened and how
When the event occurred
Whether any patients were affected / negative patient impact
Corrective action taken and how it prevents recurrence
Monitoring plan to ensure problem does not reoccur
Documentation of review by supervisor, Lab Director, and involved testing personnel

## Slide 16
MODULE 15
Record Keeping & Report Generation
DO
Write test results accurately and legibly on daily test logs
Transcribe results accurately to patient reports
Correct errors with a single line, initials, and date
Enter results into LIS as soon as possible after completion
Maintain all records in a manner that protects patient confidentiality
Review finished reports for clarity and correctness before release
Retain original reports in perpetuity
Release reports only to authorized recipients
DO NOT
Do NOT use White-Out or correction fluid
Do NOT scribble over or obscure any entry
Do NOT allow unauthorized changes to, loss of, or destruction of records
Do NOT release results to unauthorized recipients
Do NOT store food/drink in same refrigerator as specimens or reagents

## Slide 17
MODULE 16
Instrument/Test System Troubleshooting
10-step standardized discrepancy investigation process
Do not release patient results until discrepancies are resolved or an interim reporting plan is approved by Lab Director / Technical Supervisor
1
Pre-Analytical Checks:
Verify patient/sample ID; inspect for hemolysis, lipemia, clotting, insufficient volume; confirm storage and transport conditions
2
QC & Maintenance Review:
Review daily QC using Westgard rules; check lot-to-lot comparisons; confirm PM is current; verify calibrators stored and used correctly
3
Reagent & Operator Verification:
Confirm reagents within date and properly stored; review lot validation; verify SOP adherence; rule out transcription errors
4
External Comparison (Send-Out):
Send representative patient samples to reference lab; compare results to identify accuracy discrepancies
5
Repeat Testing — Same Instrument:
Re-run discrepant samples; determine if issue is inaccuracy, imprecision, or both
6
Method Comparison — Same Platform:
Head-to-head comparison of two methods using same patient samples; document correlation
7
Instrument-to-Instrument Comparison:
Send identical samples to another instrument/site; evaluate reproducibility across instruments
8
Environmental & Service Review:
Review temperature, humidity, power, water quality; check service logs and instrument error reports
9
Documentation & Communication:
Document all steps, results, decisions in deviation log; report to Technical Supervisor / Lab Director
10
Escalation:
Contact instrument manufacturer technical support; open service ticket; track corrective actions until resolution

## Slide 18
MODULE 17
Internal Audits & Annual QMS Review
Internal Chart Audits
Test records compared to LIS records annually
Critical issues reviewed: QC, patient test management, documentation accuracy
Minimum 3 accessioned samples from each analyzer reviewed by General Supervisor/designee
Discrepant results investigated and reported
Corrective Action from Audits
Deficiencies trigger corrective or preventive action
All corrective action documented within Lab Director's specified timeframe
Findings discussed at lab staff meetings; summarized in meeting minutes
Annual QMS Review
Lab Director reviews entire QMS annually for effectiveness
All main elements of lab operations reviewed at least every 12 months
Assessment of interim self-inspections and external inspection outcomes
Customer satisfaction surveys monitored annually (accessible via ART Compass)
Revision History
This SOP updated with revision history documenting all changes
Compliance with evolving regulations and standards documented
All staff trained on updates; changes communicated to relevant personnel

## Slide 19
QMS Summary & Staff Accountability
Module 20 · Every staff member is a quality owner
Follow SOPs
Exactly as written. Notify supervisor if a change is needed — do not improvise.
Document Everything
If it isn't documented, it didn't happen. Legible, accurate, in perpetuity.
Run Valid QC
Do not release patient results without valid QC. Escalate failures in order.
Report Incidents
Errors and near-misses drive improvement. Document, investigate, correct.
Maintain Competency
Annual assessment is not optional. Skills must be current and verified.
Protect Integrity
Sample integrity, patient confidentiality, and chain of custody — always.
Questions or concerns: bring them to your Technical Supervisor or Laboratory Director